## Long-term trends
EDM Annual Returns - Long-term Trends
Note that data columns will be added each year
EDM Annual Return: long-term trends | 2016 | 2017 | 2018 | 2019 | 2020 | 2021* | 2022 | 2023
Total number of storm overflows listed | - | - | - | - | - | 14470 | 14580 | 14530
Total no. storm overflows with EDM commissioned1 | - | - | - | - | - | 12707 | 13323 | 14241
Total no. storm overflows with spill data2 | 862 | 2515 | 6182 | 8276 | 12092 | 12393 | 13080 | 14031
Total number of monitored spill events3 | 12637 | 33159 | 146930.05 | 292864.374 | 403375 | 372533.41 | 301091 | 464056
Total duration (hrs) of monitored spill events | 100533.486 | 170269.11 | 898783.9743 | 2489167.1539 | 3101150.2869 | 2667452.4597 | 1754921.4237 | 3606169.864
Average number of spill events per storm overflow with spill data | 14.6601 | 13.1845 | 23.7674 | 35.3872 | 32.6058 | 29.3947 | 23 | 33.0736
Average duration (hrs) of each spill event per storm overflow | 7.9555 | 5.1349 | 6.1171 | 8.4994 | 8.1405 | 7.4356 | 5.8 | 7.771
1 For 2023 the Total no. of storm overflows with EDM commissioned is calculated using the no. of active storm overflows. In previous years, all storm overflows were considered, including sites no longer active or with permits revoked.
2 Some storm overflows may have EDM commissioned but no reliable spill data is provided. This is either due to 0% EDM Operation during the reporting year, or where the EDM was working but a WaSC has not reported the spill data in the annual return
3 A monitored spill event is a discharge to the environment, as measured by the EDM. The number of spills is defined using the 12/24h count method. This is described in our EDM dataset README guide which contains a link to our guidance on gov.uk
* From 2021 all storm overflows operated by the WaSC were requested, regardless of whether EDM was currently installed. Extra information was also collected from 2021 onwards; including status of EDM installation, reasons for any low % EDM operation or any high spill counts

## 2023 Summary Data
EDM Storm Overflow Annual Return Summary Reporting 2023
Table 1: 2023 EDM Headlines
Table 2: 2023 EDM Summary Statistics
Table 3: 2023 EDM Device Operation
Table 4: 2023 Storm Overflow Spill Performance
Table 5: 2023 Storm Overflow Spill Reasons
Table 6: 2023 EDM Storm Overflow Annual Return Data Entry
Table 1: 2023 EDM Headlines | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Total | Water Company Average
Total no. storm overflows listed in the annual return in 2023 | 1563 | 127 | 1565 | 2472 | 1374 | 977 | 698 | 2264 | 1295 | 2195 | 14530 | -
Total no. active storm overflows listed in the annual return in 2023 1 | 1432 | 127 | 1565 | 2426 | 1356 | 976 | 619 | 2255 | 1295 | 2190 | 14241 | -
Total no. storm overflows with EDM commissioned 2 | 1432 | 127 | 1565 | 2426 | 1356 | 976 | 619 | 2255 | 1295 | 2190 | 14241 | -
% active storm overflows listed with EDM commissioned 3 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 100%
Total no. storm overflows with spill data in 2023 | 1423 | 120 | 1546 | 2421 | 1342 | 962 | 610 | 2147 | 1295 | 2165 | 14031 | -
Average no. spills per storm overflow with spill data in 2023 | 22.2228 | 35.0333 | 30.0724 | 24.8876 | 43.4046 | 30.659 | 27.8525 | 45.4294 | 32.01 | 35.9173 | - | 33.0736
Average duration (hrs) per monitored spill event in 2023 | 8.6381 | 5.5552 | 6.0232 | 7.3099 | 9.1115 | 10.7576 | 11.5606 | 6.7258 | 8.9822 | 6.6407 | - | 7.771
1 Inclusion of Total no. active storm overflows listed in the annual return in 2023 to represent overflows where we would expect monitoring to be installed and removing overflows that are no longer operational.
2 For 2023 the Total no. of storm overflows with EDM commissioned is calculated using the no. of active storm overflows. In previous years, all storm overflows were considered, including sites no longer active or with permits
3 Statistic updated to % active storm overflows listed with EDM commissioned to provide clarity on how the statistic is calculated.
Table 2: 2023 EDM Summary Statistics | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Total | Water Company Average
Total no. number of monitored spill events in 2023 | 31623 | 4204 | 46492 | 60253 | 58249 | 29494 | 16990 | 97537 | 41453 | 77761 | 464056 | -
Average no. spills per storm overflow with spill data in 2023 | 22.2228 | 35.0333 | 30.0724 | 24.8876 | 43.4046 | 30.659 | 27.8525 | 45.4294 | 32.01 | 35.9173 | - | 33.0736
Total duration (hrs) of monitored spill events in 2023 | 273162.7539 | 23354.25 | 280029.2358 | 440446.19 | 530736.94 | 317284.9 | 196414.05 | 656014.27 | 372340.8043 | 516386.47 | 3606169.864 | -
Average duration (hrs) per monitored spill event in 2023 | 8.6381 | 5.5552 | 6.0232 | 7.3099 | 9.1115 | 10.7576 | 11.5606 | 6.7258 | 8.9822 | 6.6407 | - | 7.771
% storm overflows spilled ≤10 times in 2023 | 51.72% | 35% | 37.71% | 48.16% | 37.56% | 42.72% | 48.2% | 30.74% | 37.76% | 37.14% | - | 40.55%
Percentage time operating [spilling] during 2023 per overflow (average) | 2.191% | 2.222% | 2.068% | 2.077% | 4.515% | 3.765% | 3.676% | 3.488% | 3.282% | 2.723% | - | 2.934%
Table 3: 2023 EDM Device Operation | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Total | Water Company Average
Total no. storm overflows with EDM Operation data | 1432 | 127 | 1565 | 2426 | 1356 | 976 | 619 | 2255 | 1295 | 2190 | 14241 | -
% storm overflows with EDM Operation data provided where expected | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 100%
% storm overflows with 0% EDM Operation during reporting period | 0.6285% | 5.512% | 1.214% | 0.2061% | 1.032% | 1.434% | 1.454% | 4.789% | 0% | 1.142% | - | 1.475%
% storm overflows with ≥90% EDM Operation during reporting period | 93.23% | 83.46% | 86.84% | 82.98% | 87.09% | 85.45% | 75.44% | 88.38% | 95.6% | 81.74% | - | 86.48%
% storm overflows with <90% EDM Operation during reporting period | 6.774% | 16.54% | 13.16% | 17.02% | 12.91% | 14.55% | 24.56% | 11.62% | 4.402% | 18.26% | - | 13.52%
% of those with <90% operability with reason provided | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 100%
Table 4: 2023 Storm Overflow Spill Performance | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Total | Water Company Average
% with EDM installed & provided count data - with 0 spill count (did not spill) | 17.78% | 7.5% | 10.61% | 14.46% | 16.77% | 15.18% | 19.02% | 9.455% | 13.67% | 14.04% | - | 13.88%
% storm overflows with spill data - recorded ≥1 spill count | 82.22% | 92.5% | 89.39% | 85.54% | 83.23% | 84.82% | 80.98% | 90.54% | 86.33% | 85.96% | - | 86.12%
% recorded 5 spills or less | 40.97% | 21.67% | 29.3% | 37.22% | 29.06% | 33.68% | 39.67% | 23.1% | 29.34% | 29.15% | - | 31.54%
% recorded 10 spills or less | 51.72% | 35% | 37.71% | 48.16% | 37.56% | 42.72% | 48.2% | 30.74% | 37.76% | 37.14% | - | 40.55%
% recorded >10 spills | 48.28% | 65% | 62.29% | 51.84% | 62.44% | 57.28% | 51.8% | 69.26% | 62.24% | 62.86% | - | 59.45%
% recorded 20 spills or more | 37.03% | 54.17% | 50.84% | 39.36% | 54.25% | 46.47% | 39.18% | 58.92% | 50.58% | 53.81% | - | 48.68%
% recorded 40 spills or more | 20.31% | 33.33% | 30.08% | 22.68% | 40.09% | 29.42% | 24.43% | 43.74% | 31.12% | 35.47% | - | 31.52%
% recorded 60 spills or more | 11.6% | 21.67% | 15.98% | 12.68% | 29.58% | 18.71% | 17.54% | 31.58% | 18.61% | 23.42% | - | 20.35%
% recorded 100 spills or more | 3.233% | 6.667% | 4.269% | 4.42% | 12.89% | 5.717% | 7.705% | 13.13% | 5.792% | 8.176% | - | 7.384%
% recorded 200 spills or more | 0.07027% | 0% | 0.2587% | 0.1652% | 1.416% | 0.3119% | 0% | 0.9315% | 0.1544% | 0.2771% | - | 0.4205%
Table 5: 2023 Storm Overflow Spill Reasons Please note these metrics are in development. In 2023 there is some inconsistency in approach by different Water & Sewerage Companies | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Total | Water Company Average
No. monitored storm overflows that spilled >60 in one year | 161 | 24 | 234 | 300 | 390 | 177 | 104 | 666 | 230 | 493 | 2779 | -
Of those that spilled over SOAF thresholds of >60x in one year, % with a reason provided | 100% | 58.33% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 99.64%
Of those that spilled over SOAF thresholds of >60x in one year, what % due to exceptional rainfall throughout the year? | 77.64% | 0% | 14.53% | 48% | 11.79% | 22.03% | 0% | 6.757% | 26.09% | 7.099% | - | 19%
Of those that spilled over SOAF thresholds of >60x in one year, what % due to other operational (incl. asset maintenance)? | 7.453% | 4.167% | 7.265% | 13% | 13.85% | 64.97% | 40.38% | 19.22% | 31.3% | 6.288% | - | 18.39%
Of those that spilled over SOAF thresholds of >60x in one year, what % due to hydraulic capacity reasons? | 9.938% | 12.5% | 66.67% | 32% | 19.23% | 11.86% | 49.04% | 66.52% | 29.57% | 83.57% | - | 48.25%
Of those that spilled over SOAF thresholds of >60x in one year, what % N/A - Ongoing Investigation for primary reason? | 4.969% | 41.67% | 11.54% | 7% | 55.13% | 1.13% | 10.58% | 7.508% | 13.04% | 3.043% | - | 14%
Storm overflows are permitted to operate due to rainfall and/or snowmelt. The root cause for high spill frequency can be attributed to three main reasons over and above response to typical rainfall. These are fully defined in the Storm Overflow Assessment Framework (SOAF) and summarised below.
Exceptional rainfall: This does not refer to individual rainfall events, but rather the rainfall across the reporting year. Two datasets can be used to determine whether rainfall in the reporting year was "exceptional" or not (over & above typical rainfall) – (1) Environment Agency water situation reports or (2) local rainfall records.
If rainfall was exceptional and deemed the primary reason for high spill count then this is indicated in the annual return (Column W).
Asset Maintenance: Where the asset (storm overflow) and potentially parts of the upstream & downstream sewer network have not operated as designed/expected, high spill counts (over 60 times per year) can be caused.
If asset maintenance is deemed the primary reason for high spill count this is indicated in the annual return (column W). The different asset maintenance categories are listed in the EDM dataset README guide Appendix A.
Hydraulic capacity: If the reason for a high spilling storm overflow (over 60 times per year) is neither “exceptional rainfall” nor “asset maintenance” then the reason is classified under the “Hydraulic capacity” category.
This indicates there is insufficient capacity (conveyance or storage) in the sewer network to cope with the wastewater flow plus typical rainfall entering the sewer network.
Link to: Storm Overflow Assessment Framework (SOAF)
Table 6: 2023 EDM Storm Overflow Annual Return Data Entry | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Total | Water Company Average
Total no. storm overflows listed in the annual return in 2023 | 1563 | 127 | 1565 | 2472 | 1374 | 977 | 698 | 2264 | 1295 | 2195 | 14530 | -
Total no. storm overflows with EDM commissioned | 1432 | 127 | 1565 | 2426 | 1356 | 976 | 619 | 2255 | 1295 | 2190 | 14241 | -
% 'active' storm overflows listed with EDM commissioned | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 100%
Total no. storm overflows with EDM device operability data | 1432 | 127 | 1565 | 2426 | 1356 | 976 | 619 | 2255 | 1295 | 2190 | 14241 | -
% storm overflows with EDM Operation data provided where expected | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 100%
Total no. storm overflows with spill data | 1423 | 120 | 1546 | 2421 | 1342 | 962 | 610 | 2147 | 1295 | 2165 | 14031 | -
% storm overflows listed with spill data | 91.04% | 94.49% | 98.79% | 97.94% | 97.67% | 98.46% | 87.39% | 94.83% | 100% | 98.63% | - | 96.57%
% storm overflows with <90% operability where valid reason provided | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 100%
% of storm overflows >60 spills in one year with a reason provided | 100% | 58.33% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 99.64%

## 2022 Summary Data
EDM Storm Overflow Annual Return Summary Reporting 2022
Table 1: 2022 EDM Headlines
Table 2: 2022 EDM Summary Statistics
Table 3: 2022 EDM Device Operation
Table 4: 2022 Storm Overflow Spill Performance
Table 5: 2022 Storm Overflow Spill Reasons
Table 6: 2022 EDM Storm Overflow Annual Return Data Entry
Table 1: 2022 EDM Headlines | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Total no. storm overflows listed in the annual return in 2022 | 1552 | 126 | 1564 | 2466 | 1342 | 978 | 777 | 2254 | 1300 | 2221 | 14580
Total no. storm overflows with EDM commissioned | 1058 | 126 | 1542 | 2457 | 1333 | 963 | 480 | 2004 | 1182 | 2178 | 13323
% storm overflows listed with EDM commissioned | 68.17% | 100% | 98.59% | 99.64% | 99.33% | 98.47% | 61.78% | 88.91% | 90.92% | 98.06% | 91.38%
Total no. storm overflows with spill data in 2022 | 1054 | 120 | 1463 | 2438 | 1323 | 939 | 472 | 1971 | 1182 | 2118 | 13080
Average no. spills per storm overflow with spill data in 2022 | 15.2581 | 23.3333 | 20.2987 | 18.3614 | 28.4573 | 17.7721 | 16.9788 | 35.1319 | 18.5093 | 25.6246 | 23.0192
Average duration (hrs) per monitored spill event in 2022 | 5.5661 | 3.3821 | 3.6211 | 5.565 | 7.7099 | 8.7979 | 9.3203 | 6.1447 | 5.9401 | 4.2757 | 5.8285
Table 2: 2022 EDM Summary Statistics | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Total no. number of monitored spill events in 2022 | 16082 | 2800 | 29697 | 44765 | 37649 | 16688 | 8014 | 69245 | 21878 | 54273 | 301091
Average no. spills per storm overflow with spill data in 2022 | 15.2581 | 23.3333 | 20.2987 | 18.3614 | 28.4573 | 17.7721 | 16.9788 | 35.1319 | 18.5093 | 25.6246 | 23.0192
Total duration (hrs) of monitored spill events in 2022 | 89513.8553 | 9469.75 | 107536.2703 | 249115.9102 | 290271.33 | 146819.4967 | 74693.2566 | 425490.63 | 129957.3255 | 232053.5991 | 1754921.4237
Average duration (hrs) per monitored spill event in 2022 | 5.5661 | 3.3821 | 3.6211 | 5.565 | 7.7099 | 8.7979 | 9.3203 | 6.1447 | 5.9401 | 4.2757 | 5.8285
% storm overflows spilled ≤10 times in 2022 | 55.69% | 45.83% | 47.44% | 54.22% | 48.6% | 51.76% | 54.24% | 39.52% | 48.22% | 44.33% | 48.4%
Percentage time operating [spilling] during 2022 per overflow (average) | 0.9695% | 0.9009% | 0.8391% | 1.166% | 2.505% | 1.785% | 1.806% | 2.464% | 1.255% | 1.251% | 1.532%
Table 3: 2022 EDM Device Operation | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Total no. storm overflows with EDM Operation data | 1058 | 126 | 1542 | 2457 | 1333 | 963 | 479 | 1863 | 1182 | 2178 | 13181
% storm overflows with EDM Operation data provided where expected | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 92.96% | 100% | 100% | 98.95%
% storm overflows with 0% EDM Operation during reporting period | 0.3781% | 4.762% | 5.123% | 0.7733% | 0.7502% | 2.492% | 1.461% | 0% | 0% | 2.755% | 1.586%
% storm overflows with ≥90% EDM Operation during reporting period | 91.12% | 82.54% | 81.97% | 70.7% | 84.85% | 87.23% | 85.8% | 95.87% | 93.74% | 76.81% | 83.59%
% storm overflows with <90% EDM Operation during reporting period | 8.885% | 17.46% | 18.03% | 29.3% | 15.15% | 12.77% | 14.2% | 4.187% | 6.261% | 23.19% | 16.42%
% of those with <90% operability with reason provided | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100.1%
Table 4: 2022 Storm Overflow Spill Performance | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
% with EDM installed & provided count data - with 0 spill count (did not spill) | 13.09% | 15.83% | 14.22% | 20.1% | 23.58% | 19.6% | 19.92% | 15.27% | 15.99% | 16.76% | 17.51%
% storm overflows with spill data - recorded ≥1 spill count | 86.91% | 84.17% | 85.78% | 79.9% | 76.42% | 80.4% | 80.08% | 84.73% | 84.01% | 83.24% | 82.49%
% recorded 5 spills or less | 38.8% | 30.83% | 34.93% | 43.64% | 39.53% | 41.43% | 40.04% | 30.59% | 35.96% | 35.6% | 37.49%
% recorded 10 spills or less | 55.69% | 45.83% | 47.44% | 54.22% | 48.6% | 51.76% | 54.24% | 39.52% | 48.22% | 44.33% | 48.4%
% recorded >10 spills | 44.31% | 54.17% | 52.56% | 45.78% | 51.4% | 48.24% | 45.76% | 60.53% | 51.78% | 55.67% | 51.61%
% recorded 20 spills or more | 28.75% | 44.17% | 38.76% | 32.94% | 40.51% | 34.08% | 30.93% | 49.72% | 36.46% | 43.63% | 38.71%
% recorded 40 spills or more | 9.772% | 24.17% | 17.63% | 14.4% | 25.09% | 15.12% | 15.25% | 33.38% | 14.55% | 25.68% | 20.34%
% recorded 60 spills or more | 3.131% | 8.333% | 6.494% | 7.301% | 16.93% | 5.218% | 6.568% | 21.77% | 4.484% | 14.12% | 10.71%
% recorded 100 spills or more | 0.4744% | 1.667% | 1.162% | 1.518% | 6.727% | 0.7455% | 0.2119% | 7.813% | 1.015% | 2.455% | 2.875%
% recorded 200 spills or more | 0% | 0% | 0% | 0.2461% | 0.6803% | 0% | 0% | 0.761% | 0% | 0.1416% | 0.2523%
Table 5: 2022 Storm Overflow Spill Reasons Please note these metrics are in development. In 2022 there is some inconsistency in approach by different Water & Sewerage Companies | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
No. monitored storm overflows that spilled >60 in one year | 29 | 10 | 93 | 166 | 219 | 49 | 31 | 421 | 48 | 289 | 1355
Of those that spilled over SOAF thresholds of >60x in one year, % with a reason provided | 100% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 99.63%
Of those that spilled over SOAF thresholds of >60x in one year, what % due to exceptional rainfall throughout the year? | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Of those that spilled over SOAF thresholds of >60x in one year, what % due to other operational (incl. asset maintenance)? | 48.28% | 0% | 8.602% | 1.205% | 10.5% | 0% | 38.71% | 21.38% | 43.75% | 25.95% | 18.08%
Of those that spilled over SOAF thresholds of >60x in one year, what % due to hydraulic capacity reasons? | 17.24% | 0% | 78.49% | 37.95% | 55.25% | 0% | 58.06% | 78.62% | 12.5% | 68.51% | 60.15%
Of those that spilled over SOAF thresholds of >60x in one year, what % N/A - Ongoing Investigation for primary reason? | 34.48% | 50% | 12.9% | 60.84% | 34.25% | 100% | 3.226% | 0% | 43.75% | 5.536% | 21.4%
Storm overflows are permitted to operate due to rainfall and/or snowmelt. The root cause for high spill frequency can be attributed to three main reasons over and above response to typical rainfall. These are fully defined in the Storm Overflow Assessment Framework (SOAF) and summarised below.
Exceptional rainfall: This does not refer to individual rainfall events, but rather the rainfall across the reporting year. Two datasets can be used to determine whether rainfall in the reporting year was "exceptional" or not (over & above typical rainfall) – (1) Environment Agency water situation reports or (2) local rainfall records.
If rainfall was exceptional and deemed the primary reason for high spill count then this is indicated in the annual return (Column W).
Asset Maintenance: Where the asset (storm overflow) and potentially parts of the upstream & downstream sewer network have not operated as designed/expected, high spill counts (over 60 times per year) can be caused.
If asset maintenance is deemed the primary reason for high spill count this is indicated in the annual return (column W). The different asset maintenance categories are listed in the EDM dataset README guide Appendix A.
Hydraulic capacity: If the reason for a high spilling storm overflow (over 60 times per year) is neither “exceptional rainfall” nor “asset maintenance” then the reason is classified under the “Hydraulic capacity” category.
This indicates there is insufficient capacity (conveyance or storage) in the sewer network to cope with the wastewater flow plus typical rainfall entering the sewer network.
Link to: Storm Overflow Assessment Framework (SOAF)
Table 6: 2022 EDM Storm Overflow Annual Return Data Entry | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Total no. storm overflows listed in the annual return in 2022 | 1552 | 126 | 1564 | 2466 | 1342 | 978 | 777 | 2254 | 1300 | 2221 | 14580
Total no. storm overflows with EDM commissioned | 1058 | 126 | 1542 | 2457 | 1333 | 963 | 480 | 2004 | 1182 | 2178 | 13323
% storm overflows listed with EDM commissioned | 68.17% | 100% | 98.59% | 99.64% | 99.33% | 98.47% | 61.78% | 88.91% | 90.92% | 98.06% | 91.38%
Total no. storm overflows with EDM device operability data | 1058 | 126 | 1542 | 2457 | 1333 | 963 | 479 | 1863 | 1182 | 2178 | 13181
% storm overflows with EDM Operation data provided where expected | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 92.96% | 100% | 100% | 98.95%
Total no. storm overflows with spill data | 1054 | 120 | 1463 | 2438 | 1323 | 939 | 472 | 1971 | 1182 | 2118 | 13080
% storm overflows listed with spill data | 67.91% | 95.24% | 93.54% | 98.86% | 98.58% | 96.01% | 60.75% | 87.44% | 90.92% | 95.36% | 89.71%
% storm overflows with <90% operability where valid reason provided | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100.1%
% of storm overflows >60 spills in one year with a reason provided | 100% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 99.63%

## 2021 Summary Data
EDM Storm Overflow Annual Return Summary Reporting 2021
Table 1: 2021 EDM Headlines
Table 2: 2021 EDM Summary Statistics
Table 3: 2021 EDM Device Operation
Table 4: 2021 Storm Overflow Spill Performance
Table 5: 2021 Storm Overflow Spill Reasons
Table 6: 2021 EDM Storm Overflow Annual Return Data Entry
Table 1: 2021 EDM Headlines | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Total no. storm overflows listed in the annual return in 2021 | 1552 | 124 | 1567 | 2658 | 1391 | 978 | 465 | 2192 | 1297 | 2246 | 14470
Total no. storm overflows with EDM commissioned | 842 | 123 | 1542 | 2437 | 1102 | 963 | 465 | 2006 | 1049 | 2178 | 12707
% overflows listed with EDM commissioned | 54.25% | 99.19% | 98.4% | 91.69% | 79.22% | 98.47% | 100% | 91.51% | 80.88% | 96.97% | 89.06%
Total no. storm overflows with spill data | 834 | 121 | 1440 | 2412 | 1093 | 943 | 461 | 1954 | 1048 | 2087 | 12393
Average no. spills per storm overflow with spill data in 2021 | 25.6007 | 29.4793 | 25.3354 | 24.7446 | 38.8692 | 20.2306 | 31.9154 | 41.7544 | 22.4466 | 33.5707 | 29.3947
Average duration (hrs) per monitored spill event in 2021 | 9.114 | 4.8115 | 6.0456 | 7.7263 | 8.2804 | 8.4385 | 11.0847 | 6.6279 | 6.4299 | 5.7967 | 7.4356
Table 2: 2021 EDM Summary Statistics | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Total no. number of spill events in 2021 | 21351 | 3567 | 36483 | 59684 | 42484 | 19077.41 | 14713 | 81588 | 23524 | 70062 | 372533.41
Average no. spills per storm overflow with spill data in 2021 | 25.6007 | 29.4793 | 25.3354 | 24.7446 | 38.8692 | 20.2306 | 31.9154 | 41.7544 | 22.4466 | 33.5707 | 29.3947
Total duration (hrs) of monitored spill events in 2021 | 194593.9936 | 17162.75 | 220560.3998 | 461135 | 351784.6 | 160983.9828 | 163089.848 | 540753.06 | 151257.7872 | 406131.0383 | 2667452.4597
Average duration (hrs) per monitored spill event in 2021 | 9.114 | 4.8115 | 6.0456 | 7.7263 | 8.2804 | 8.4385 | 11.0847 | 6.6279 | 6.4299 | 5.7967 | 7.4356
Percentage time operating [spilling] during 2021 per overflow (average) | 2.664% | 1.619% | 1.748% | 2.182% | 3.674% | 1.949% | 4.039% | 3.159% | 1.648% | 2.221% | 2.49%
Table 3: 2021 EDM Device Operation | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Total no. overflows with EDM Operation data | 838 | 123 | 1542 | 2432 | 1100 | 963 | 465 | 1935 | 1049 | 2161 | 12608
% storm overflows with 0% EDM Operation during reporting period | 0.4773% | 1.626% | 6.615% | 0.8224% | 0.6364% | 2.077% | 0.8602% | 2.687% | 0.09533% | 3.424% | 1.932%
% storm overflows with ≥90% EDM Operation during reporting period | 92.72% | 86.99% | 80.67% | 76.93% | 87% | 87.54% | 90.32% | 92.2% | 95.9% | 80.29% | 87.06%
% storm overflows with <90% EDM Operation during reporting period | 7.279% | 13.01% | 19.33% | 23.07% | 13% | 12.46% | 9.677% | 7.804% | 4.099% | 19.71% | 12.94%
% of those with <90% operability with reason provided | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Table 4: 2021 Storm Overflow Spill Performance | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
% with EDM installed & provided count data - with 0 spill count (did not spill) | 10.55% | 12.4% | 12.43% | 17.83% | 15.37% | 18.56% | 8.894% | 10.7% | 11.93% | 13.75% | 13.24%
% storm overflows that spilled - recorded ≥1 spill count | 89.45% | 87.6% | 87.57% | 82.17% | 84.63% | 81.44% | 90.89% | 89.3% | 86.26% | 86.25% | 86.56%
% recorded 5 spills or less | 32.37% | 26.45% | 32.01% | 37.11% | 28.18% | 38.71% | 24.73% | 24.31% | 28.53% | 27.65% | 30%
% recorded 10 spills or less | 44.48% | 35.54% | 42.29% | 49.5% | 35.96% | 51.33% | 34.06% | 32.29% | 41.6% | 35.36% | 40.24%
% recorded 20 spills or less | 60.67% | 48.76% | 55.56% | 62.44% | 50.41% | 66.49% | 49.02% | 43.71% | 60.97% | 49.45% | 54.75%
% recorded >20 spills | 39.33% | 51.24% | 44.44% | 37.56% | 49.59% | 33.51% | 50.76% | 56.29% | 39.03% | 50.55% | 45.23%
% recorded 40 spills or more | 21.22% | 31.4% | 24.72% | 20.52% | 33.67% | 18.03% | 30.59% | 40.48% | 18.7% | 34.64% | 27.4%
% recorded 60 spills or more | 11.99% | 15.7% | 11.32% | 12.27% | 23.42% | 8.484% | 19.74% | 27.89% | 7.443% | 20.32% | 15.86%
% recorded 100 spills or more | 4.676% | 3.306% | 2.847% | 4.187% | 10.43% | 2.015% | 4.989% | 9.519% | 1.908% | 6.133% | 5.001%
% recorded 200 spills or more | 0.3597% | 0% | 0% | 0.539% | 1.372% | 0.106% | 0% | 1.279% | 0.09542% | 0.1437% | 0.3896%
Table 5: 2021 Storm Overflow Spill Reasons Please note these metrics are in development. In 2021 there is some inconsistency in how water & sewerage companies have applied this | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Of those that spilt over SOAF thresholds of >60x in one year, % with a reason provided | 69.79% | 26.32% | 36.25% | 34.03% | 16.73% | 13.92% | 100% | 100% | 38.67% | 0% | 43.57%
Of those that spilt over SOAF thresholds of >60x in one year, what % due to exceptional weather? | 5.97% | 0% | 0% | 0% | 0% | 9.091% | 0% | 0% | 0% | N/A | 1.673%
Of those that spilt over SOAF thresholds of >60x in one year, what % due to other operational (incl. asset maintenance)? | 49.25% | 20% | 8.621% | 0% | 28.57% | 27.27% | 61.18% | 11.51% | 51.72% | N/A | 28.68%
Of those that spilt over SOAF thresholds of >60x in one year, what % due to hydraulic capacity reasons? | 44.78% | 80% | 91.38% | 100% | 71.43% | 63.64% | 38.82% | 88.49% | 48.28% | N/A | 69.65%
Table 6: 2021 EDM Storm Overflow Annual Return Data Entry | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Total no. storm overflows listed in the annual return in 2021 | 1552 | 124 | 1567 | 2658 | 1391 | 978 | 465 | 2192 | 1297 | 2246 | 14470
Total no. overflows with EDM commissioned | 842 | 123 | 1542 | 2437 | 1102 | 963 | 465 | 2006 | 1049 | 2178 | 12707
% overflows listed with EDM commissioned | 54.25% | 99.19% | 98.4% | 91.69% | 79.22% | 98.47% | 100% | 91.51% | 80.88% | 96.97% | 89.06%
Total no. overflows with EDM device operability data | 838 | 123 | 1542 | 2432 | 1100 | 963 | 465 | 1935 | 1049 | 2161 | 12608
Total no. overflows with spill data | 834 | 121 | 1440 | 2412 | 1093 | 943 | 461 | 1954 | 1048 | 2087 | 12393
% overflows listed with spill data | 53.74% | 97.58% | 91.9% | 90.74% | 78.58% | 96.42% | 99.14% | 89.14% | 80.8% | 92.92% | 87.1%
% overflows with <90% operability where valid reason provided | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
% of overflows >60 spills in one year with a reason provided | 69.79% | 26.32% | 36.25% | 34.03% | 16.73% | 13.92% | 100% | 100% | 38.67% | 0% | 43.57%

## 2020 Summary Data
EDM Annual Return Summary Reporting 2020
Yearly increase in Storm Overflows data included in Annual Return
Year | 2016 | 2017 | 2018 | 2019 | 2020
Number of Storm Overflows included in EDM Regulatory Return | 862 | 2515 | 6182 | 8276 | 12092
2020 EDM Headlines | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities Water (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Totals / Average
Number of overflows declared by WaSCs (totals for DC/WW in England ) | 1566 | 126 | 1520 | 2954 | 1209 | 975 | 472 | 2273 | 1289 | 2241 | 14625
Overflows with numeric data | 711 | 116 | 1485 | 2276 | 1095 | 945 | 463 | 1925 | 971 | 2105 | 12092
Average Number of spills / Overflow | 24.512 | 34 | 22.2888 | 26.8053 | 38.4046 | 20.9333 | 39.8337 | 59.248 | 29.8599 | 30.1729 | 32.6058
Average duration of spill (hrs) | 9.7858 | 5.3608 | 5.4845 | 9.1617 | 8.9262 | 9.9693 | 11.7056 | 6.3761 | 8.1753 | 6.4597 | 8.1405
2020 EDM Summary numbers reported | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities Water (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Totals
Number of overflows declared by WaSCs (totals for DC/WW in England ) | 1566 | 126 | 1520 | 2954 | 1209 | 975 | 472 | 2273 | 1289 | 2241 | 14625
Overflows listed | 735 | 120 | 1520 | 2288 | 1095 | 982 | 468 | 1925 | 975 | 2185 | 12293
Overflows with numeric data | 711 | 116 | 1485 | 2276 | 1095 | 945 | 463 | 1925 | 971 | 2105 | 12092
2020 EDM Summary statistics | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities Water (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Totals / Average
Number of spill events in 2020 return | 17428 | 3969 | 32497 | 60982 | 42053 | 19782 | 18443 | 113940 | 28994 | 65083 | 403171
Average Number of spills / Overflow | 24.512 | 34 | 21.8835 | 26.8053 | 38.4046 | 20.9333 | 39.8337 | 59.248 | 29.8599 | 30.1729 | 32.6058
Duration (hrs) of Spill events in 2020 return | 170547 | 21300 | 178229 | 558699 | 375372 | 197213 | 215886 | 726450.2869 | 237035 | 420419 | 3101150.2869
Average duration of spill (hrs) | 9.7858 | 5.3608 | 5 | 9.1617 | 8.9262 | 9.9693 | 11.7056 | 6.3761 | 8.1753 | 6.4597 | 8.1405
Percentage time operating for average overflow | 2.738% | 2.081% | 1.395% | 2.803% | 3.913% | 2.382% | 5.323% | 4.312% | 2.787% | 2.225% | 2.996%
2020 EDM % against Thresholds | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities Water (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Average
% that did not spill (0 times) | 14.35% | 10.34% | 15.98% | 16.12% | 14.81% | 18.94% | 9.503% | 3.744% | 13.18% | 15.11% | 13.21%
% that spill less than or equal to 20 times | 66.15% | 55.17% | 59.74% | 64.57% | 53.47% | 67.2% | 47.52% | 34.48% | 52.32% | 55% | 56%
% that spill 60 times or more | 10.24% | 26.72% | 8.999% | 13.01% | 24.5% | 9% | 26.78% | 37.86% | 15.86% | 17.9% | 19.09%
% that spill 100 times or more | 4.836% | 6.034% | 2.376% | 5.626% | 11.97% | 3% | 13.39% | 19.53% | 4.84% | 6.444% | 7.806%
2020 EDM % completeness of return | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities Water (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Average
% with percentage return =0 | 0.4249% | 3.419% | 4.27% | 0.5247% | 0% | 5.431% | 1.08% | 0% | 0.4119% | 3.711% | 1.927%
% with percentage return <90 | 3.824% | 12.82% | 11.57% | 19.94% | 14.9% | 16.2% | 10.8% | 6.604% | 9.578% | 7% | 11.32%
% with comments if return <90 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 100% | 100% | 90%
NB UU provide comments grouped as root causes under separate correspondance.